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SAFETY DATA SHEET (SDS)

SECTION 1: IDENTIFICATION
Product Name: WT101
Application / Recommended Use: Coagulant and flocculant for raw water, process water, and wastewater treatment.
Company Identification:
· France Office: 368 boulevard Harpignies, 59300 Valenciennes, France
· Saudi Arabia Office: Tareeg 128, Jubail Industrial Support Area, PO Box 1080, Jubail 31951, Saudi Arabia
· E-mail: dmitrii.babaev@dh-ts.com
· Internet: www.dh-ts.com
Emergency Telephone Number:
· Company Contact: +966 13 340 7510
· National Emergency Numbers (Saudi Arabia):
· Police: 999
· Ambulance: 997
· Fire: 998
Date of Issue: 08.10.2025
Version: 1.0

SECTION 2: HAZARDS IDENTIFICATION
2.1. Classification of the substance or mixture
According to the Globally Harmonized System (GHS) as implemented in Saudi Arabia.
· Aquatic Chronic, Category 2 (H411)
2.2. Label Elements
· Signal Word: No signal word required.
· Pictograms: No pictograms required.
· Hazard Statements:
· H412: Harmful to aquatic life with long lasting effects.
· Precautionary Statements:
· P273: Avoid release to the environment.
· P501: Dispose of contents/container in accordance with local regulations.
· P391: Collect spillage.
2.3. Other Hazards
· Spills will create a very slippery surface.

SECTION 3: COMPOSITION/INFORMATION ON INGREDIENTS
This product is an aqueous solution of a cationic polymer.
Hazardous Components:
	Chemical Name
	CAS No
	Concentration (% w/w)
	Classification (GHS)

	Poly(diallyldimethylammonium chloride)
	26062-79-3
	20%
	Aquatic Chronic 2 (H411)



SECTION 4: FIRST AID MEASURES
· Inhalation: Move person into fresh air.
· Skin Contact: Wash off with soap and plenty of water.
· Eye Contact: Rinse thoroughly with plenty of water for several minutes.
· Ingestion: Rinse mouth. Drink one or two glasses of water. Do not induce vomiting.

SECTION 5: FIREFIGHTING MEASURES
· Suitable extinguishing media: Product is not combustible. Use extinguishing measures that are appropriate for the surrounding fire.
· Specific Hazards: Not applicable.

SECTION 6: ACCIDENTAL RELEASE MEASURES
· Personal precautions: Wear appropriate personal protective equipment. CAUTION: SPILLS ARE EXTREMELY SLIPPERY.
· Environmental precautions: Prevent entry into sewers and public waters.
· Methods for cleaning up: Dike spill. Absorb with inert material (e.g., sand) and collect into a suitable container for disposal.

SECTION 7: HANDLING AND STORAGE
· Handling: Handle in accordance with good industrial hygiene and safety practice. Avoid contact with skin and eyes.
· Storage: Store in a cool, dry, well-ventilated area. Keep container tightly closed. Protect from freezing.

SECTION 8: EXPOSURE CONTROLS/PERSONAL PROTECTION
· Occupational Exposure Limits (OELs): No occupational exposure limits have been established for this substance.
· Engineering controls: Good general ventilation is sufficient.
· Personal Protective Equipment (PPE):
· Eye/face protection: Safety glasses with side-shields (EN 166).
· Hand protection: Protective gloves (e.g., nitrile rubber).
· Skin and body protection: Standard work clothing.

SECTION 9: PHYSICAL AND CHEMICAL PROPERTIES
· Physical state: Liquid
· Appearance: Colorless to pale yellow, viscous liquid
· Odour: Odorless to slight amine odor
· Odour threshold: No data available
· pH: 5 - 8
· Melting point/freezing point: ~0 °C
· Initial boiling point and boiling range: ~100 °C
· Flash point: Not applicable
· Evaporation rate: Similar to water
· Flammability (solid, gas): Not applicable
· Upper/lower flammability or explosive limits: Not applicable
· Vapour pressure: Similar to water
· Vapour density: No data available
· Relative density: ~1.02 - 1.04 g/cm³ at 20°C
· Solubility(ies): Completely miscible in water
· Partition coefficient: n-octanol/water: Not applicable (polymer)
· Auto-ignition temperature: Not applicable
· Decomposition temperature: No data available
· Viscosity: Viscous (>100 cP at 20°C)
· Explosive properties: Not explosive
· Oxidizing properties: Not oxidizing

SECTION 10: STABILITY AND REACTIVITY
· Chemical Stability: Stable under normal storage and handling conditions.
· Incompatible Materials: Strong oxidizing agents, anionic polymers.
· Hazardous Decomposition Products: None under normal conditions.

SECTION 11: TOXICOLOGICAL INFORMATION
· Acute Toxicity: Very low acute toxicity. Oral LD50 (rat) > 5000 mg/kg. Not classified for human health hazards.
· Skin Corrosion/Irritation: Not classified as a skin irritant.
· Serious Eye Damage/Irritation: Not classified as an eye irritant.

SECTION 12: ECOLOGICAL INFORMATION
· Toxicity: Toxic to aquatic life with long lasting effects (Category 3).
· Fish (LC50, 96 h): > 1-10 mg/L (Estimated based on component concentration).
· Persistence and Degradability: Not readily biodegradable.
· Bioaccumulative Potential: Not expected to bioaccumulate.
· Environmental Limits: Discharge into the environment must be in accordance with local environmental regulations, including those set by the National Center for Environmental Compliance (NCEC) and the Royal Commission for Jubail and Yanbu.

SECTION 13: DISPOSAL CONSIDERATIONS
· Waste treatment methods: Dispose of waste in accordance with regulations of the National Center for Waste Management (MWAN) and, if applicable, the Royal Commission for Jubail and Yanbu.

SECTION 14: TRANSPORT INFORMATION
This product is not classified as dangerous goods for transport (ADR/RID, IMDG, IATA).
Special precautions for user:
· Desert Transport Considerations: Protect from freezing. While stable at high temperatures, avoid prolonged exposure to direct sunlight.

SECTION 15: REGULATORY INFORMATION
· Saudi Arabian Regulations:
· This product is classified and labeled in accordance with the Saudi Standards, Metrology and Quality Organization (SASO) implementation of the Globally Harmonized System (GHS).
· Import and distribution of this product must comply with the requirements of the SABER conformity assessment platform.
· For use within the industrial city of Jubail, this product and its application must comply with the environmental and safety regulations of the Royal Commission for Jubail and Yanbu.

SECTION 16: OTHER INFORMATION
· Disclaimer: The information provided in this Safety Data Sheet is correct to the best of our knowledge. It is designed only as guidance for safe handling and use.
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